## Slide 1: CT-81-Seg for Windows 11
User guidance
Yi Gu
2025/12/16

## Slide 2: Requirements
Windows 11 (installation would fail for other Windows)
Administrative user
Network connection
Latest Windows GPU driver

## Slide 3: 1. File explanation
Script for installation
Script for inference
Script for checking version
Script for uninstallation
Runtime performance report
This guidance
Example input CT
Source code

## Slide 4: 2. Installation
(2) Click Run as administrator.
(1) Right-click container_install.cmd.
(3) If it is the first time of installing WSL,
machine restart may be required.
(4) After restarting, go to (1) to run container_install.cmd again.

## Slide 5: 3. Inference example: 3.1 Setting input and output
(1) Right-click container_run_inference.cmd
(2) Click Edit in Notepad
(3) Set CT_IMAGE_PATH (can be a MHD/A file or a folder of DICOM)
(for example, G:\projects\ct81segapp_export\input\UZU00001_CT1)
(4) Set OUTPUT_DIR (must be a valid folder)
(for example, G:\projects\ ct81segapp_export \output)
(5) Save changes

## Slide 6: 3. Inference example: 3.2 Running script
(1) Right-click container_run_inference.cmd
(2) Click Run as administrator
(3) Wait for the result

## Slide 7: 3. Inference example: 3.3 Checking results
Log
Calculated mean HU table
Predicted labelmap

## Slide 8: 4 Uninstallation
(2) Click Run as administrator.
(1) Right-click container_uninstall.cmd.
(3) Wait until the uninstallation finished.